## Sheet1
MaintActivityType | Maintenance Plan | Maintenance item | Group | Group Counter | Required by | Basic start date | Revision | Order | Functional Location | Sort field | Description of functional location | Description | Main work center | Planner group | User Status | System status | Order Type | Room | Total planned costs | Total actual costs | Budget Line | Notification
200 |  |  |  |  | 2016-11-20 | 2016-11-20 |  | 12910225 | 10050SM001-PL03 |  | Panel, Winder AHC Control | Investigate 240v MCB fault on winder | TEMUEL | 02E | APRD | TECO PCNF ESTC NMAT PRC SETC | ZPM2 |  | 110.77 | 110.77 | 30012768 | 11133807
100 |  |  |  |  | 2016-11-19 | 2016-11-19 | Y16WK46 | 12897421 | 10050SM001-PL03 |  | Panel, Winder AHC Control | Replace AHC CPU | TEMUEL | 02E | SCHD ASMD | TECO PCNF PRT GMPS MACM PRC SETC | ZPM1 | 02ED3 | 9834.31 | 9834.31 | 30012766 | 11127233
100 |  |  |  |  | 2016-11-04 | 2016-11-04 |  | 12831681 | 10050SM001-PL03 |  | Panel, Winder AHC Control | Order and replace the Optoisolator card. | TEMUEL | 02E | APRD WAFI | CRTD ESTC NMAT PRC | ZPM1 |  | 2658.48 | 0 | 30012768 | 11105066
200 |  |  |  |  | 2016-10-07 | 2016-10-07 |  | 12835468 | 10050SM001 |  | Room, Main Control Hoist | rtd fault | TEMUEL | 02E | APRD | TECO PCNF ESTC NMAT PRC SETC | ZPM2 |  | 221.54 | 221.54 | 30012768 | 11107146
200 | [5 empty] | 2016-09-14 |  | 12809520 | 10050SM001 |  | Room, Main Control Hoist | Encoder mismatch fault | TEMUEL | 02E | APRD | TECO PCNF ESTC NMAT PRC SETC | ZPM2 |  | 1550.78 | 443.08 | 30012768 | 11093841
200 |  |  |  |  | 2016-08-13 | 2016-08-13 |  | 12768588 | 10050SM001-PL01 | 266PN001 | Panel, Winder Main Control | shut prep | TEMUEL | 02E | APRD | CLSD PCNF ESTC NMAT PRC SETC | ZPM2 |  | 664.62 | 664.62 | 30012768 | 11074746
200 | [5 empty] | 2016-07-07 |  | 12724620 | 10050SM001 |  | Room, Main Control Hoist | Converter fault | TEMUEL | 02E | APRD | CLSD PCNF ESTC NMAT PRC SETC | ZPM2 |  | 110.77 | 110.77 | 30012768 | 11052630
200 | [5 empty] | 2016-05-18 |  | 12664363 | 10050SM001 |  | Room, Main Control Hoist | Replace Apron Feeder Circuit Breaker | TEMUEL | 02E | APRD | CLSD PCNF ESTC NMAT PRC SETC | ZPM2 |  | 266 | 133 | 30012768 | 11020551
200 | [5 empty] | 2016-01-26 |  | 12525794 | 10050SM001 |  | Room, Main Control Hoist | Power tripped to 11kv board | TEMTEL | 04E | APRD | CLSD PCNF ESTC NMAT PRC SETC | ZPM2 |  | 0 | 128 | 30000014 | 10944438
200 | [5 empty] | 2015-10-20 |  | 12401900 | 10050SM001 |  | Room, Main Control Hoist | secure air con duct | TEMUEL | 02E | APRD | CLSD PCNF ESTC GMPS MACM PRC SETC | ZPM2 |  | 282.2 | 282.2 | 30012768 | 10882399
200 |  |  |  |  | 2015-09-16 | 2015-09-16 |  | 12359495 | 10050SM001 |  | Room, Main Control Hoist | repair lights | TEMUEL | 02E | APRD | CLSD PCNF ESTC NMAT PRC SETC | ZPM2 |  | 840 | 840 | 30012768 | 10859896
100 |  |  |  |  | 2015-06-11 | 2015-07-30 | Y15WK31 | 12216790 | 10050SM001-PL02 | 266PC022 | Panel, Winder AHM Control | Order new AHM CPU battery | TEMUEL | 02E | SCHD | CLSD PCNF PRT GMPS MACM PRC SETC | ZPM1 | 02ED4 | 164.51 | 164.51 | 30012768 | 10788451
200 | [5 empty] | 2015-01-23 |  | 12051581 | 10050SM001 |  | Room, Main Control Hoist | investigate winder fault | TEMUEL | 02E | APRD | CLSD PCNF ESTC NMAT PRC SETC | ZPM2 |  | 0 | 950 | 30000016 | 10711716
100 |  |  |  |  | 2014-10-20 | 2014-10-22 | Y14WK43 | 11918696 | 10050SM001 |  | Room, Main Control Hoist | Remove smokers hut from area | TEMUME | 02M | STPD | CLSD PCNF PRT NMAT PRC SETC | ZPM1 | 3UGM | 0 | 200 | 30000016 | 10649748
300 | 409787 | 2009787 | 5006172 | 1 | 2014-09-01 | 2014-09-01 | Y14WK36 | 11779215 | 10050SM001 |  | Room, Main Control Hoist | 271AC004 BAC Switchroom Mth AC Checks | TEMSEL | 03E | SCHD | CLSD PCNF NMAT PRC SETC | ZPM3 | 03EF1 | 90 | 90 | 30012451
300 | 409788 | 2009788 | 5006172 | 1 | 2014-09-01 | 2014-09-01 |  | 11779216 | 10050SM001 |  | Room, Main Control Hoist | 271AC005 BAC Switchroom Mth AC Checks | TEMSEL | 03E | APRD | CLSD NCMP NMAT PRC | ZPM3 |  | 90 | 0 | 30012451